Work with Ionising Radiations (X-ray generating equipment and Radionuclides):

# Quick Reference Checklist

________________________________________________________________________________

## Legislation:	Radioactive Substances Act 1993

Ionising Radiations Regs (NI) 2000

## Ionising Radiation (Medical Exposure) Regs (NI) 2000

1.	Have staff and students planning to work with ionising radiations registered with the University’s Radiation Protection Advisor (RPA)?

2.	Has work with ionising radiations been notified and authorised by the appropriate Enforcing Authority ie HSE(NI) and/or the Radiochemical Inspectorate?

3.	Are the premises suitable for carrying out work with ionising radiations?

Radionuclides     3(i)  	Has the workplace been designated as a Grade ‘C’ Radiochemical Laboratory?

3(ii)	Have Certificates of Registration and Authorisation been issued for

the premises?

3(iii)	Are the premises equipped with a dedicated radioactive waste

drainage system?

X-ray generation 3(iv)	Is the equipment/workplace adequately shielded?

3(v)	Does the equipment have adequate safety interlocking?

3(vi)	Are there warning devices (lights, sirens etc) and warning lights in

place?

4.	Is there a Departmental/School Radiation Protection Supervisor (RPS) in post?

5.	Are Departmental/School Local Rules for work with ionising radiations on display?

6.	Has a risk assessment of the work with ionising radiations been made?

7.	Have control measures been put in place to ensure that exposures arising from the work with ionising radiations are kept as low as reasonably practicable?

8.	Have protocols/standard operating procedures for the work been forwarded to the University 	Radiation Protection Advisor?

9.	Are arrangements in place to assess the doses of ionising radiation received by the workers (personal dosimetry)?

10.	Have the workers received suitable and sufficient information, instruction and training in general radiation protection and in their specific work with ionising radiation?

11.	Is radiation monitoring equipment readily available?

12.	Clinical research involving patients and/or volunteers:

12(i)	Has an application been made to the Research Ethics Committee?

12(ii)	Have the Radiation Protection Advisors for the University and the relevant hospital

been made aware of the proposed project?

If the answer to any of the above questions is “no” or “don’t know”, please contact the University’s RPA immediately and before the work commences.