Model Local Rules for Work with Ionising Radiation

________________________________________________________________________________

It is the University's Policy that local rules should be written for all areas in which work with ionising radiations takes place.

The main purpose of these local rules is to set out the key arrangements for restricting exposure to ionising radiations in a particular area.  They can vary considerably in detail and format but should be appropriate to the nature, complexity and degree of the risk of exposure to ionising radiations.

The most effective local rules are those which:

(i)  are brief;

(ii)  focus on the working instructions to be followed by everyone to keep radiation doses as

low as reasonably practicable;

(iii) refer to work at a particular location and take account of the environment in and around

the area;

(iv) contain clear instructions which reflects good laboratory practice rather than an ideal

which is not attainable;

(v)  are reviewed periodically to check that they remain relevant.

Local rules should contain the following information as appropriate:

(a)  The name of the appointed Departmental Radiation Protection Supervisor;

(b)  The identification and description of the area covered by the rules (lab/room number and

building);

(c)  An appropriate summary of the working instructions to control exposure to ionising radiation:

(i)  control of access to the area;

(ii)  general precautions, and good laboratory practice, eg lab coat, PPE, shielding etc;

(iii) storage, handling and disposal of radionuclides;

(iv) radiation and contamination monitoring;

(v)  record keeping;

(vi) personal dosimetry.

(d)  Frequency of examination, testing and calibration of monitoring equipment.

(e)  Decontamination procedures:

(i)  personnel;

(ii)  clothing;

(iii) equipment, fixtures and fittings.

(f)  Contingency plans:

(i)  spillage of an unsealed source;

(ii)  damage to a sealed source;

(iii) fire;

(iv) loss or theft or a radioactive source.

(g)  Special arrangements for pregnant and breast-feeding staff.