Shut-down checklist for vacation periods (TEMPLATE)

Department:

Person/s responsible:

Date to be completed on:

| Location | Equipment | Person responsible | Completed (Initials) |
| --- | --- | --- | --- |
| Individual Offices | Turn off and unplug ALL Portable Fans |  |  |
|  | Turn off and unplug ALL Portable Heaters |  |  |
|  | Turn off and unplug ALL Portable Air-conditioning |  |  |
|  | Set all radiators with thermostats down to Frost Control setting |  |  |
|  | Turn off and unplug computers, monitors, scanners, etc. with the exception of servers. |  |  |
|  | Turn off and unplug ALL Photocopiers |  |  |
|  | Turn off and unplug ALL Printers |  |  |
|  | Turn off and unplug ALL Phone Chargers |  |  |
|  | Turn off ALL interior lights in unoccupied areas. |  |  |
|  | Close all windows and blinds |  |  |
| Corridors/ Entrance lobby | Set all radiators with thermostats down to the Frost Control setting |  |  |
|  | Turn off ALL interior lights in unoccupied areas. |  |  |
|  | Close all windows and blinds |  |  |
|  | Turn off and unplug TVs, VCRs and any other non-essential electronic equipment |  |  |
|  | Turn off and unplug ALL vending machines containing non-perishables |  |  |
| Stock and Photocopier rooms | Set all radiators with thermostats down to the Frost Control setting |  |  |
|  | Turn off and unplug ALL Photocopiers |  |  |
|  | Turn off and unplug ALL Printers |  |  |
|  | Turn off ALL interior lights in unoccupied areas. |  |  |
|  | Close all windows and blinds |  |  |
| Kitchen/Staff room | Turn off ALL interior lights in unoccupied areas. |  |  |
|  | Turn off and unplug Microwave, Kettle, water heater, water cooler etc |  |  |
|  | Consolidate stock in fridges/freezers |  |  |
| Laboratories | Turn off and unplug ALL laboratory equipment, unless laboratory staff advise otherwise |  |  |
|  | Close the sash and turn down ALL Fume Cupboards |  |  |
|  | Turn off and unplug ALL Portable Fans |  |  |
|  | Turn off and unplug ALL Portable Heaters |  |  |
|  | Turn off and unplug ALL Portable Air-conditioning |  |  |
|  | Set all radiators with thermostats down to the Frost Control setting |  |  |
|  | Turn off ALL interior lights in unoccupied areas. |  |  |
|  | Close all windows and blinds |  |  |

Key holders and contact numbers:

Emergency Contact and Important phone numbers

Security control will continue to operate throughout the Christmas period and can be contacted as follows:

Internal ext – 5099/5098                External dialling – (028) 9097 5099/5098

Internal emergency – 2222            External dialling – (028) 9097 2222

Other special requirements when closing down over bank holidays and Christmas/Easter considered:

- Ensure that all office doors are locked and windows are closed.

- Laptops and other portable IT equipment should be stored in a locked cabinet or drawer.

- Check and report any leakage of water fixtures.

- Managers to inform Directors/Senior Managers if attending work in order that appropriate reporting/security measures are in place to ensure safety

- Final sweep of building is carried out to check that there is no one on premises and security alarm is switched on and active.

- Empty all bins and ensure that any hazardous materials are appropriately stored and secured.

- External storage areas, garages and parking facilities are locked and secure

Notes/Observations: (use this section to note any variations from the switch off list)

All Actions Completed: Yes/ No  (Delete as appropriate)

Print Name:					Signed:

Date: